{"text_format":"3","workbook":"xls","n_sheets":6,"sheets":["S5FxBs","盖章封面","编制说明","200 供配电系统","300章 通风照明","400章 消防系统"],"not_rendered":{"external_links":1,"defined_names":10},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"S5FxBs","index":0,"n_rows":0,"n_cols":0,"rows_kept":0,"hidden":true,"flags":["formulas_cached_only"]}

{"sheet":"盖章封面","index":1,"n_rows":18,"n_cols":7,"rows_kept":18,"merged":[[1,1,2,6],[3,1,3,6],[5,1,5,6],[9,3,9,6],[10,3,10,6],[11,3,11,6],[12,3,12,6],[14,0,14,6]],"flags":["formulas_cached_only"]}
[null,null,"","","","",""]
[null,"海西网漳州云霄至平和（闽粤界）高速公路机电工程ED1合同段"]
[]
[null,"(K0+000~K36+883    全长36.883km)"]
[null,null,"","","","",""]
[null,"0#清单勘误"]
[null,null,"","","","",""]
[null,null,"","","","",""]
[null,null,"","","","",""]
[null,null,"施工单位:","北京瑞华赢科技发展有限公司"]
[null,null,"设计单位:","福建省交通规划设计院"]
[null,null,"监理单位:","北京兴通工程咨询有限公司"]
[null,null,"建设单位:","漳州通广云平高速公路有限公司"]
[null,null,""]
["编制时间:二零一九年十月"]
[null,null,"","","","",""]
[null,null,"","","","",""]
[null,null,"","","","",""]

{"sheet":"编制说明","index":2,"n_rows":2,"n_cols":1,"rows_kept":2,"flags":["formulas_cached_only"]}
["编制说明"]
["\n一、编制说明\n \n1、海西网漳州云霄至平和（闽粤界）高速公路机电工程ED1标段清单勘误是在招标工程量清单及招标图纸的基础上，按照设计技术交底精神编制。\n2、清单勘误中所列的主要设备类是根据图纸的统计；辅材和材料类，由于受实际施工条件的影响较大，其数量应据实计量，以监理最终签证数量为准。\n\n二、编制依据\n\n1、《海西网漳州云霄至平和（闽粤界）高速公路机电工程ED1标段合同协议书》。\n2、《海西网漳州云霄至平和（闽粤界）高速公路机电工程招标文件》。\n3、《海西网漳州云霄至平和（闽粤界）高速公路机电工程ED1合同段段两阶段施工图设计》。\n4、《海西网漳州云霄至平和（闽粤界）高速公路机电工程ED1合同段设计答疑》。\n5、国家相关规范。                                                                                                                                                                   \n\n三、本项目合同金额第100章~400章清单合计为43715840元。工程量清单经过四方（施工、监理、设计、业主）0＃清单勘误汇总价合计为43884438元 。         "]

{"sheet":"200 供配电系统","index":3,"n_rows":308,"n_cols":9,"rows_kept":308,"merged":[[0,0,0,8],[1,0,1,7],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,3,3,3],[2,4,3,4],[2,5,3,5],[2,6,3,6],[2,7,3,7],[2,8,3,8],[307,0,307,2]],"flags":["formulas_cached_only"]}
["第200章   供配电系统"]
["合同段：ED1                                                     "]
["项目号","设备材料名称","单位","品牌","制造商","规格型号","原产地","数量","备注"]
[]
[203,"成套开关设备"]
[203.1,"10KV金属铠装中置式开关柜"]
[1,"进线柜（真空断路）","面","中骏","中骏","KYN28","厦门",10]
[3,"进线柜（负荷开关）","面",null,null,"KYN28"]
[4,"进线柜（负荷开关+熔断器）","面",null,null,"KYN28"]
[5,"进线柜（隔离小车）","面","中骏","中骏","KYN28","厦门",4]
[6,"计量柜","面","中骏","中骏","KYN28","厦门",9]
[7,"PT（PS）柜","面","中骏","中骏","KYN28","厦门",9]
[8,"馈线柜（断路器开关）","面","中骏","中骏","KYN28","厦门",18]
[9,"馈线柜(负荷开关）","面",null,null,"KYN28"]
[10,"馈线柜(负荷开关+熔断器）","面","中骏","中骏","KYN28","厦门",1]
[11,"馈线柜(隔离小车）","面",null,null,"KYN28"]
[12,"联络柜（断路器）","面",null,null,"KYN28"]
[13,"联络柜（负荷开关）","面",null,null,"KYN28"]
[14,"联络柜(隔离小车）","面",null,null,"KYN28"]
[15,"母线转向柜","面",null,null,"KYN28"]
[16,"其他安装所需辅材","项",{"$nulls":4},1]
[203.2,"10KV 紧凑型开关柜"]
[1,"进线柜（负荷开关）","面"]
[2,"进线柜（负荷开关+熔断器）","面"]
[3,"进线柜（断路器）","面"]
[4,"PT柜","面"]
[5,"计量柜","面"]
[6,"馈线柜（断路器）","面"]
[7,"馈线柜（负荷开关）","面"]
[8,"馈线柜（负荷开关+熔断器）","面"]
[9,"联络柜（负荷开关）","面"]
[10,"联络柜（断路器）","面"]
[11,"母线转向柜","面"]
[12,"其他安装所需辅材","项"]
[203.3,"10KV户外箱式成套变电站"]
[1,"箱式成套变电站","座"]
[2,"箱式成套变电站基础","座"]
[3,"其他安装所需辅材","项"]
[203.4,"10KV户外电缆分接箱"]
[1,"10KV户外电缆分接箱(含基础)","套"]
[2,"10KV户外电缆分接箱(含基础）","套"]
[3,"其他安装所需辅材","项"]
[203.5,"低压开关柜及低压动力柜"]
["一","所（站）区低压开关柜"]
[1,"所（站）区配电房进线柜","面","中骏","中骏","GCK","厦门",5]
[2,"所（站）区配电房进线柜（双电源切换）","面"]
[3,"所（站）区配电房馈线柜","面","中骏","中骏","GCK","厦门",6]
[4,"所（站）区配电房计量+馈线柜","面","中骏","中骏","GCK","厦门",5]
[5,"所（站）区配电房补偿柜","面","中骏","中骏","GCK","厦门",5]
[6,"所（站）区配电房双电源切换柜","面"]
[7,"所（站）区配电房双电源切换+馈线柜","面","中骏","中骏","GCK","厦门",10]
[8,"所（站）低压专用计量柜","面"]
[9,"所（站）区照明控制配电箱（户外型）","面"]
[10,"其他安装所需辅材","项",{"$nulls":4},1]
["二","隧道变电所低压配电柜"]
[1,"隧道变电所进线柜","面","中骏","中骏","GCK","厦门",9]
[2,"隧道变电所馈线柜","面","中骏","中骏","GCK","厦门",17]
[3,"隧道变电所补偿柜","面","中骏","中骏","GCK","厦门",1]
[4,"隧道变电所双电源切换柜","面","中骏","中骏","GCK","厦门"]
[5,"隧道变电所双电源切换+馈线柜","面","中骏","中骏","GCK","厦门",9]
[6,"隧道变电所低压计量柜","面","中骏","中骏","GCK","厦门",1]
[7,"隧道变电所风机控制柜"]
[7.1,"风机控制柜（含3台48D88Q软启）","面","中骏","中骏","GGD","厦门",1]
[7.2,"风机控制柜（含4台48D88Q软启）","面","中骏","中骏","GGD","厦门",3]
[7.3,"风机控制柜（含5台48D88Q软启）","面","中骏","中骏","GGD","厦门",1]
[7.4,"风机控制柜（含6台48D88Q软启）","面"]
[8,"其他安装所需辅材","项",{"$nulls":4},1]
["三","隧道洞室动力柜"]
[1,"隧道风机动力柜","面","中骏","中骏","XL21","厦门",20]
[2,"隧道照明动力柜","面","中骏","中骏","XL21","厦门",48]
[3,"其他安装所需辅材","项",{"$nulls":4},1]
["四","封闭式母线槽"]
[1,"封闭式母线槽（含配件和接头）","米",null,null,"KFM-PD-250/4"]
[2,"封闭式母线槽（含配件和接头）","米","美盛母线","美盛母线","KFM-PD-400/4","中国",30]
[3,"封闭式母线槽（含配件和接头）","米","美盛母线","美盛母线","KFM-PD-630/4","中国",150]
[4,"封闭式母线槽（含配件和接头）","米",null,null,"KFM-PD-800/4"]
[5,"封闭式母线槽（含配件和接头）","米",null,null,"KFM-PD-160/4"]
[6,"其他安装所需辅材","项",{"$nulls":4},1]
[204,"变压器"]
[204.1,"成套干式变压器"]
[1,"成套干式变压器","台",null,null,"SCBH15-10/0.4KV 80KVA"]
[2,"成套干式变压器","台",null,null,"SCBH15-10/0.4KV 100KVA"]
[3,"成套干式变压器","台",null,null,"SCBH15-10/0.4KV 125KVA"]
[4,"成套干式变压器","台",null,null,"SCBH15-10/0.4KV 160KVA"]
[5,"成套干式变压器","台","中骏","中骏","SCBH15-10/0.4KV 200KVA","泉州",2]
[6,"成套干式变压器","台",null,null,"SCBH15-10/0.4KV 250KVA"]
[7,"成套干式变压器","台","中骏","中骏","SCBH15-10/0.4KV 315KVA","泉州",2]
[8,"成套干式变压器","台","中骏","中骏","SCBH15-10/0.4KV 400KVA","泉州",2]
[9,"成套干式变压器","台","中骏","中骏","SCBH15-10/0.4KV 500KVA","泉州",6]
[15,"成套干式变压器","台","中骏","中骏","SCBH15-10/0.4KV 630KVA","泉州",2]
[11,"成套干式变压器","台",null,null,"SCBH15-10/0.4KV 800KVA"]
[16,"其他安装所需辅材","项",{"$nulls":4},1]
[205,"成套柴油发电机组"]
[1,"50KW柴油发电机组(含基础、油箱、百叶窗、1000L油量等)","套"]
[2,"75KW柴油发电机组(含基础、油箱、百叶窗、1000L油量等)","套"]
[3,"100KW柴油发电机组(含基础、油箱、百叶窗、1000L油量等)","套"]
[4,"120KW柴油发电机组(含基础、油箱、百叶窗、1000L油量等)","套"]
[5,"150KW柴油发电机组(含基础、油箱、百叶窗、1000L油量等)","套"]
[6,"160KW柴油发电机组(含基础、油箱、百叶窗、1000L油量等)","套"]
[7,"180KW柴油发电机组(含基础、油箱、百叶窗、1000L油量等)","套"]
[8,"200W柴油发电机组(含基础、油箱、百叶窗、1000L油量等)","套","鑫达","鑫达山力","NT855-GA","武汉",1]
[9,"240KW柴油发电机组(含基础、油箱、百叶窗、1000L油量等)","套","鑫达","鑫达山力","NT855-G1A","武汉",1]
[10,"250KW柴油发电机组(含基础、油箱、百叶窗、1000L油量等)","套","鑫达","鑫达山力","NT855-G1A","武汉",1]
[11,"300KW柴油发电机组(含基础、油箱、百叶窗、1000L油量等)","套","鑫达","鑫达山力","NT855-G2A","武汉",1]
[12,"400KW柴油发电机组(含基础、油箱、百叶窗、1000L油量等)","套","鑫达","鑫达山力","KTA19-G3A","武汉",2]
[13,"440KW柴油发电机组(含基础、油箱、百叶窗、1000L油量等)","套"]
[14,"600KW柴油发电机组(含基础、油箱、百叶窗、1000L油量等)","套"]
[15,"800KW柴油发电机组(含基础、油箱、百叶窗、1000L油量等)","套"]
[16,"其他安装所需辅材","项",{"$nulls":4},1]
[206,"不间断电源(工频UPS)"]
[1,"1KVA工频UPS","台"]
[2,"2KVA在线式工频UPS","台","科士达","科士达","GP802H-B","深圳",8]
[3,"10KVA在线式工频UPS","台","科士达","科士达","EP10","深圳",2]
[4,"15KVA在线式工频UPS","台","科士达","科士达","EP20","深圳",3]
[5,"20KVA在线式工频UPS","台"]
[6,"25KVA在线式工频UPS","台"]
[7,"30KVA在线式工频UPS","台"]
[8,"40KVA在线式工频UPS","台"]
[9,"其他安装所需辅材","项",{"$nulls":4},1]
[207,"电线电缆"]
["一","10KV电力电缆",{"$nulls":5},0]
["1","10KV交联电力电缆","米",null,null,"YJV22-8.7/10KV-3x35",null,0]
["2","10KV交联电力电缆","米",null,null,"YJV22-8.7/10KV-3x50",null,0]
["3","10KV交联电力电缆","米",null,null,"YJV22-8.7/10KV-3x70",null,0]
["4","10KV交联电力电缆","米",null,null,"YJV22-8.7/10KV-3x95"]
["5","10KV交联电力电缆","米",null,null,"YJV22-8.7/10KV-3x120",null,0]
["6","10KV交联电力电缆","米",null,null,"YJV22-8.7/10KV-3x150",null,0]
["7","10KV交联电力电缆","米",null,null,"YJLV22-8.7/10KV-3x35",null,0]
["8","10KV交联电力电缆","米","中超","中超","YJLV22-8.7/10KV-3x50","江苏",18363]
["9","10KV交联电力电缆","米",null,null,"YJLV22-8.7/10KV-3x70",null,0]
["10","10KV交联电力电缆","米",null,null,"YJLV22-8.7/10KV-3x95",null,0]
["11","10KV交联电力电缆","米",null,null,"YJLV22-8.7/10KV-3x120",null,0]
["12","10KV交联电力电缆","米",null,null,"YJLV22-8.7/10KV-3x150",null,0]
["13","10KV交联电力电缆","米","中超","中超","YJV-8.7/10KV-3x50","江苏",760]
["14","10KV交联电力电缆","米","中超","中超","YJV-8.7/10KV-3x95","江苏",120]
["15","10KV交联电力电缆","米",null,null,"YJV-8.7/10KV-3x120",null,0]
["16","10KV交联电力电缆","米",null,null,"YJV-8.7/10KV-3x150",null,0]
[17,"其他安装所需辅材","项",{"$nulls":4},1]
["二","低压电力电缆",{"$nulls":5},0]
["1","低压电力电缆","米",null,null,"YJV-0.6/1KV-5x35",null,0]
["2","低压电力电缆","米",null,null,"YJV-0.6/1KV-5x16",null,0]
["3","低压电力电缆","米",null,null,"YJV-0.6/1KV-5x10",null,0]
["4","低压电力电缆","米",null,null,"YJV-0.6/1KV-5x6",null,0]
["5","低压电力电缆","米",null,null,"YJV-0.6/1KV-5x4",null,0]
["6","低压电力电缆","米",null,null,"YJV-0.6/1KV-4x240",null,0]
["7","低压电力电缆","米",null,null,"YJV-0.6/1KV-4x150",null,0]
["8","低压电力电缆","米",null,null,"YJV-0.6/1KV-4x120",null,0]
["9","低压电力电缆","米",null,null,"YJV-0.6/1KV-4x95",null,0]
["10","低压电力电缆","米",null,null,"YJV-0.6/1KV-4x70",null,0]
["11","低压电力电缆","米","中超","中超","YJV-0.6/1KV-4x50","江苏",2495]
["12","低压电力电缆","米","中超","中超","YJV-0.6/1KV-4x35","江苏",3403]
["13","低压电力电缆","米","中超","中超","YJV-0.6/1KV-4x25","江苏",2759]
["14","低压电力电缆","米",null,null,"YJV-0.6/1KV-4x16",null,0]
["15","低压电力电缆","米",null,null,"YJV-0.6/1KV-4x10",null,0]
["16","低压电力电缆","米",null,null,"YJV-0.6/1KV-4x6",null,0]
["17","低压电力电缆","米","中超","中超","YJV-0.6/1KV-1x35","江苏",280]
["18","低压电力电缆","米",null,null,"YJV-0.6/1KV-1x25",null,0]
["19","低压铠装电力电缆","米",null,null,"YJV22-0.6/1KV-5x16",null,0]
["20","低压铠装电力电缆","米",null,null,"YJV22-0.6/1KV-5x10",null,0]
["21","低压铠装电力电缆","米",null,null,"YJV22-0.6/1KV-5x6",null,0]
["22","低压铠装电力电缆","米",null,null,"YJV22-0.6/1KV-5x4",null,0]
["23","低压铠装电力电缆","米","中超","中超","YJLV22-0.6/1KV-5x10","江苏",130]
["24","低压铠装电力电缆","米","中超","中超","YJLV22-0.6/1KV-5x16","江苏",2987]
["25","低压铠装电力电缆","米",null,null,"YJLV22-0.6/1KV-5x25",null,0]
["26","低压铠装电力电缆","米",null,null,"YJLV-0.6/1KV-5x10",null,0]
["27","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-4x150",null,0]
["28","低压阻燃电缆","米","中超","中超","ZR-YJV-0.6/1KV-4x120","江苏",1562]
["29","低压阻燃电缆","米","中超","中超","ZR-YJV-0.6/1KV-4x95","江苏",704]
["30","低压阻燃电缆","米","中超","中超","ZR-YJV-0.6/1KV-4x70","江苏",781]
["31","低压阻燃电缆","米","中超","中超","ZR-YJV-0.6/1KV-4x50","江苏",1544]
["32","低压阻燃电缆","米","中超","中超","ZR-YJV-0.6/1KV-4x35","江苏",8453]
["33","低压阻燃电缆","米","中超","中超","ZR-YJV-0.6/1KV-4x25","江苏",5815]
["34","低压阻燃电缆","米","中超","中超","ZR-YJV-0.6/1KV-4x16","江苏",12471]
["35","低压阻燃电缆","米","中超","中超","ZR-YJV-0.6/1KV-4x10","江苏",3634]
["36","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-4x6",null,0]
["37","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-3x70+1x35",null,0]
["38","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-3x50+1x25",null,0]
["39","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-3x35+1x16",null,0]
["40","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-3x25+1x16",null,0]
["41","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-4x120+1x70",null,0]
["42","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-4x70+1x35",null,0]
["43","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-4x50+1x25",null,0]
["44","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-4x35+1x16",null,0]
["45","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-4x25+1x16",null,0]
["46","低压阻燃电缆","米","中超","中超","ZR-YJV-0.6/1KV-5x16","江苏",100]
["47","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-5x10",null,0]
["48","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-5x6",null,0]
["49","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-3x6",null,0]
["50","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-3x4",null,0]
["51","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-5x50",null,0]
["52","低压阻燃电缆","米",null,null,"ZR-YJV-0.6/1KV-5x4",null,0]
["53","低压铠装阻燃电力电缆","米",null,null,"ZR-YJV22-0.6/1KV-5x35",null,0]
["54","低压铠装阻燃电力电缆","米",null,null,"ZR-YJV22-0.6/1KV-5x25",null,0]
["55","低压铠装阻燃电力电缆","米",null,null,"ZR-YJV22-0.6/1KV-5x16",null,0]
["56","低压铠装阻燃电力电缆","米",null,null,"ZR-YJV22-0.6/1KV-5x10",null,0]
["57","低压铠装阻燃电力电缆","米",null,null,"ZR-YJV22-0.6/1KV-5x6",null,0]
["58","低压阻燃电力电缆","米",null,null,"ZR-YJV-0.6/1KV-3x95+1x50",null,0]
["59","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-2x2.5",null,0]
["60","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-4x240",null,0]
["61","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-4x185",null,0]
["62","低压耐火电缆","米","中超","中超","NH-YJV-0.6/1KV-4x150","江苏",150]
["63","低压耐火电缆","米","中超","中超","NH-YJV-0.6/1KV-4x120","江苏",120]
["64","低压耐火电缆","米","中超","中超","NH-YJV-0.6/1KV-4x95","江苏",150]
["65","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-4x70",null,0]
["66","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-4x50",null,0]
["67","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-4x35",null,0]
["68","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-4x25",null,0]
["69","低压耐火电缆","米","中超","中超","NH-YJV-0.6/1KV-4x16","江苏",2525]
["70","低压耐火电缆","米","中超","中超","NH-YJV-0.6/1KV-4x10","江苏",6162]
["71","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-4x6",null,0]
["72","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-3x150+1x70",null,0]
["73","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-3x120+1x70",null,0]
["74","低压耐火电缆","米","中超","中超","NH-YJV-0.6/1KV-3x95+1x50","江苏",4825]
["75","低压耐火电缆","米","中超","中超","NH-YJV-0.6/1KV-3x70+1x35","江苏",2460]
["76","低压耐火电缆","米","中超","中超","NH-YJV-0.6/1KV-3x50+1x25","江苏",1500]
["77","低压耐火电缆","米","中超","中超","NH-YJV-0.6/1KV-3x35+1x16","江苏",1137]
["78","低压耐火电缆","米","中超","中超","NH-YJV-0.6/1KV-3x25+1x16","江苏",360]
["79","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-5x35",null,0]
["80","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-5x25",null,0]
["81","低压耐火电缆","米","中超","中超","NH-YJV-0.6/1KV-5x16","江苏",150]
["82","低压耐火电缆","米","中超","中超","NH-YJV-0.6/1KV-5x10","江苏",2499]
["83","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-5x6",null,0]
["84","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-5x4",null,0]
["85","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-4x6",null,0]
["86","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-3x16",null,0]
["87","低压耐火电缆","米",null,null,"NH-YJV-0.6/1KV-3x10",null,0]
["88","低压耐火电缆","米","中超","中超","NH-YJV-0.6/1KV-3x2.5","江苏",1400]
["89","低压耐火铠装电缆","米",null,null,"NH-YJV22-0.6/1KV-5x25",null,0]
["90","低压耐火铠装电缆","米","中超","中超","NH-YJV22-0.6/1KV-5x16","江苏",1000]
["91","低压耐火铠装电缆","米",null,null,"NH-YJV22-0.6/1KV-4x25+1X16",null,0]
["92","低压耐火铠装电缆","米",null,null,"NH-YJV22-0.6/1KV-5x10",null,0]
["93","其他安装所需辅材","项",{"$nulls":4},1]
["三","控制电缆",{"$nulls":5},0]
[1,"阻燃耐火控制电缆","米",null,null,"ZN-KVV-14x2.5",null,0]
[2,"阻燃耐火控制电缆","米","中超","中超","ZN-KVVP-14x2.5","江苏",10042]
[3,"控制电缆","米",null,null,"KVVP-7x2.5",null,0]
["4","阻燃耐火控制电缆(铠装)","米",null,null,"ZN-KVV22-4x2.5"]
["5","阻燃耐火控制电缆(铠装)","米","中超","中超","ZN-KVVP22-4x2.5","江苏",1500]
[6,"其他安装所需辅材","项",{"$nulls":4},1]
["四","照明导线",{"$nulls":5},0]
[1,"交联聚乙烯导线(阻燃)","米","中超","中超","WDZ-BYJ2.5mm2","江苏",460]
[2,"交联聚乙烯导线(阻燃)","米","中超","中超","WDZ-BYJ4mm2","江苏",53616]
[3,"交联聚乙烯导线(阻燃)","米","中超","中超","WDZ-BYJ6mm2","江苏",2464]
[4,"交联聚乙烯导线(阻燃)","米","中超","中超","WDZ-BYJ10mm2","江苏",10372]
[5,"交联聚乙烯导线(阻燃)","米","中超","中超","WDZ-BYJ16mm2","江苏",12948]
[6,"交联聚乙烯导线(阻燃)","米","中超","中超","WDZ-BYJ25mm2","江苏",196]
[7,"交联聚乙烯导线(阻燃)","米",null,null,"WDZB-BYJ2.5mm2",null,0]
[8,"交联聚乙烯导线(阻燃)","米",null,null,"WDZB-BYJ4mm2",null,0]
[9,"交联聚乙烯导线(阻燃)","米",null,null,"WDZB-BYJ6mm2",null,0]
[10,"交联聚乙烯导线(阻燃)","米",null,null,"WDZB-BYJ10mm2",null,0]
[11,"交联聚乙烯导线(阻燃)","米",null,null,"WDZB-BYJ16mm2",null,0]
[12,"交联聚乙烯导线(阻燃)","米",null,null,"WDZB-BYJ25mm2",null,0]
[13,"交联聚乙烯导线(耐火)","米",null,null,"WDZBN-BYJ2.5mm2",null,0]
[14,"交联聚乙烯导线(耐火)","米","中超","中超","WDZBN-BYJ4mm2","江苏",18926]
[15,"交联聚乙烯导线(耐火)","米","中超","中超","WDZBN-BYJ6mm2","江苏",6876]
[16,"交联聚乙烯导线(耐火)","米",null,null,"WDZBN-BYJ10mm2",null,0]
[17,"交联聚乙烯导线(耐火)","米",null,null,"WDZBN-BYJ16mm2",null,0]
[18,"交联聚乙烯导线(耐火)","米",null,null,"WDZBN-BYJ25mm2",null,0]
[19,"其他安装所需辅材","项",{"$nulls":4},1]
["五","电缆护管"]
[1,"G50镀锌钢管","米","正元","正元","G50","中国",750]
[2,"G100镀锌钢管","米","正元","正元","G100","中国",8625]
[3,"G150镀锌钢管","米","正元","正元","G150","中国",1260]
[4,"G200镀锌钢管","米"]
[5,"G50玻璃钢电缆保护管","米"]
[6,"其他安装所需辅材","项",{"$nulls":4},1]
["六","管箱、支架"]
[1,"玻璃钢管箱","米","现场采购","现场采购","XQJ-MR-ZBQ-01A1-20a","中国",748]
[2,"热浸镀锌角钢管箱支架（过桥）","付","鑫荣达","鑫荣达","现场采购","中国",748]
[3,"热浸镀锌角钢电缆支架（变电所电缆沟）","付","鑫荣达","鑫荣达","现场采购","中国",400]
[4,"热浸镀锌角钢电缆支架（隧道电缆沟）","付","鑫荣达","鑫荣达","现场采购","中国",10996]
[5,"其他安装所需辅材","项",{"$nulls":4},1]
["七","人（手）井","口"]
[1,"12#人孔井","口",{"$nulls":4},30]
[2,"24#人孔井","口",{"$nulls":4},10]
[3,"过渡手孔井","口",{"$nulls":4},96]
["八","标志桩","个","现场采购","现场采购","现场采购","中国",55]
[208,"接地工程(隧道\\所站分开)"]
["1","隧道口接地（含接地镀锌角钢50*5*5、连接偏钢50*5）","处",{"$nulls":4},6]
["2","镀锌扁钢（50×5）","米","鑫荣达","鑫荣达","50×5","中国",9232]
["3","镀锌扁钢（60×6）","米"]
[4,"其他安装所需辅材","项",{"$nulls":4},1]
["209","隧道变电所、配电洞防火门"]
["1","配电横洞防火门(1.2mm亚光不锈钢)","樘"]
["2","隧道配电洞防火门(1.2mm亚光不锈钢)","樘","恒立","恒立门业","2300*2200","福建",68]
["3","隧道埋地变洞门(1.2mm亚光不锈钢)","樘"]
[4,"其他安装所需辅材","项",{"$nulls":4},1]
[210,"变电所环境装饰"]
[1,"变电所防火树脂地坪漆","平方米",{"$nulls":4},900]
[2,"横洞变电所墙面水泥漆","平方米"]
[3,"电气系统图、工作制度版制作","面","现场采购","现场采购","现场采购","中国",72]
[4,"变电所标志牌","面","现场采购","现场采购","现场采购","中国",72]
[4.1,"变电所外墙警示牌","面","现场采购","现场采购","现场采购","中国",72]
[4.2,"变电所内标志牌","面","现场采购","现场采购","现场采购","中国",72]
[5,"绝缘垫（宽1米）","米","现场采购","现场采购","现场采购","中国",540]
[6,"灭火器葙(MF6型干粉2具)","套","现场采购","现场采购","现场采购","中国",26]
[7,"变电所空调、除湿机"]
[7.1,"壁挂式空调（1.5P）","台",0]
[7.2,"柜式空调（3P）","台"]
[7.3,"柜式空调（5P）","台","格力","格力","5P","中国",20]
[7.4,"除湿机（8L/h）","台"]
[8,"电缆沟钢盖板","平方米",{"$nulls":4},270]
[9,"变电所防护网","平方米",{"$nulls":4},270]
[10,"10号槽钢基础","米"]
[11,"12号槽钢基础","米",{"$nulls":4},780]
[12,"变电所安全用具","套",{"$nulls":4},10]
[13,"其他安装所需辅材","项",{"$nulls":4},1]
["200章  总计 "]

{"sheet":"300章 通风照明","index":4,"n_rows":78,"n_cols":9,"rows_kept":78,"merged":[[0,0,0,8],[1,0,1,7],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,6,4,6],[3,7,4,7],[3,8,4,8],[77,0,77,2]],"flags":["formulas_cached_only"]}
["第300章   通风、照明系统"]
["合同段：ED1                                                     "]
[1,2,3,5,6,7,8,12,20]
["项目号","设备材料名称","单位","品牌","制造商","规格型号","原产地","数量","备注"]
[]
[301,"隧道通风"]
["一","射流风机"]
[1,"隧道射流风机（30KW）","台"]
[2,"隧道射流风机（37KW）","台","中隧","中隧","SDS-11.2T-4P-37","天津",20]
[4,"其他安装所需辅材","项",{"$nulls":4},1]
["二","轴流风机"]
[1,"轴流排风机（含风机主体、减振装置、扩散段、软连接、出风口端消音器、进风口端风门、钢网门等）","套"]
[2,"轴流送风机（含风机主体、减振装置、扩散段、软连接、出风口端消音器、进风口端风门、钢网门等）","套"]
[3,"组合风阀","套"]
[4,"室外钢构联络风道","米"]
[5,"风机检修行车","套"]
[6,"轴流风机软启动柜","台"]
[7,"风机控制柜","个"]
[8,"轴流风机控制系统(含控制机、控制软件、操作系统软件等）","套"]
[9,"轴流风机监控软件","套"]
[10,"轴流风机软件联网调试","项"]
[11,"其他安装所需辅材","项"]
[302,"隧道照明"]
["一","隧道高压钠灯灯具"]
[1,"隧道高压钠灯灯具（70W）","套","上海亚明","上海亚明","70W","上海",372]
[2,"隧道高压钠灯灯具（100W）","套","上海亚明","上海亚明","100W","上海",354]
[3,"隧道高压钠灯灯具（150W)","套","上海亚明","上海亚明","150W","上海",489]
[4,"隧道高压钠灯灯具(250W)","套","上海亚明","上海亚明","250W","上海",477]
[5,"隧道高压钠灯灯具(400W)","套","上海亚明","上海亚明","400W","上海",396]
[6,"隧道LED灯（100W）","套",null,null,"整灯光效≥110m/w"]
[7,"隧道LED灯（90W）","套","信达","信达","整灯光效≥110m/w","厦门",1242]
[8,"隧道LED灯（60W）","套",null,null,"整灯光效≥110m/w"]
[9,"隧道LED灯（50W）","套","信达","信达","整灯光效≥110m/w","厦门",98]
[10,"收费棚车道LED照明灯（120W)","套","信达","信达","整灯光效≥110m/w","厦门",72]
[11,"其他安装所需辅材","项",{"$nulls":4},1]
["二","电缆桥架"]
[1,"防火电缆线槽（含支架、吊架、螺栓、卡箍等）","米",null,null,"XQJ-C-01A-3         150*75 "]
[2,"防火电缆线槽（含支架、吊架、螺栓、卡箍等）","米",null,null,"XQJ-C-01A-2         100*75 "]
[3,"防火金属线槽（含支架、吊架、螺栓、卡箍等）","米","鑫意通","鑫意通","XQJ-C-01A-2 100*100","中国",5221]
[4,"防火电缆线槽（含支架、吊架、螺栓、卡箍等）","米","鑫意通","鑫意通","XQJ-C-01A-4 200*100","中国",3551]
[5,"其他安装所需辅材","项",{"$nulls":4},1]
["三","其它"]
[1,"隧道电缆沟盖板素混凝土包封","立方米",null,null,"见施工图",null,704]
[2,"隧道中压预埋管混凝土包封","立方米",{"$nulls":4},151]
[3,"配电洞室吸顶灯","盏","佛山照明","佛山照明","LED24W(带保护罩)","佛山",68]
[27,"横洞变电所照明设施"]
[4.1,"横洞变电所配电箱","个"]
[4.199999999999999,"横洞变电所照明灯","盏"]
[4.299999999999999,"横洞变电所便携式应急灯","盏"]
[4.399999999999999,"安全型带开关三极单相暗插座","个"]
[4.499999999999998,"安全型二极加三极单相暗装插座","个"]
[4.599999999999998,"单联单控开关","个","现场采购","现场采购","现场采购","中国",68]
[4.6999999999999975,"总等电位端子箱","个"]
[5,"阻燃型可挠性金属套管（含接头）"]
[5.1,"LV-5/17#","米"]
[5.2,"LV-5/63#","米"]
[5.3,"（YK)LV-5/50#","米","毅腾","毅腾","现场采购","中国",1000]
[5.4,"（YK)LV-5/63#","米","毅腾","毅腾","现场采购","中国",1150]
[6,"其他安装所需辅材","项",{"$nulls":4},1]
[303,"照明路灯及中高杆灯"]
[1,"中杆灯"]
[1.1,"15米中杆灯（含灯杆、光源、时控器、基础、杆内电缆、接地等）","套"]
[1.2,"18米中杆灯（含灯杆、光源、时控器、基础、杆内电缆、接地等）","套"]
[2,"隧道洞口路灯"]
[2.1,"隧道洞口单臂路灯（含灯杆、光源、时控器、基础、杆内电缆、接地等）","套","佛山照明","佛山照明","洞口单叉路灯 1*NG250W H=12m IP65 挑臂1.5m 仰角5度","佛山",85]
[2.2,"隧道洞口双臂路灯（含灯杆、光源、时控器、基础、杆内电缆、接地等）","套"]
[3,"高杆灯"]
[3.1,"20米高杆灯（含灯杆、光源、时控器、升降装置、杆内电缆、接地等）","套"]
[3.2,"25米高杆灯（含灯杆、光源、时控器、升降装置、杆内电缆、接地等）","套"]
[3.3,"30米高杆灯（含灯杆、光源、时控器、升降装置、杆内电缆、接地等）","套"]
[4,"其他安装所需辅材","项",{"$nulls":4},1]
[304,"电力监控部分"]
[1,"电力监控软件","套"]
[2,"电力监控工作站","台"]
[3,"电力数据采集柜","台",null,null,"HWT-PDA-G10"]
[4,"电缆接头温度检测仪表","套"]
[5,"光缆","米",null,null,"单模4芯"]
["300章  总计  "]

{"sheet":"400章 消防系统","index":5,"n_rows":91,"n_cols":9,"rows_kept":91,"merged":[[0,0,0,8],[1,0,1,7],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,6,4,6],[3,7,4,7],[3,8,4,8],[90,0,90,2]],"flags":["formulas_cached_only"]}
["第400章   消防系统"]
["合同段：ED1                                                     "]
[1,2,3,5,6,7,8,12,20]
["项目号","设备材料名称","单位","品牌","制造商","规格型号","原产地","数量","备注"]
[]
[403,"消防给水"]
["一","水池、水井"]
[1,"深水井","座"]
[2,"150吨水池（含水池管件）","座"]
[3,"300吨水池（含水池管件）","座"]
[4,"500吨水池（含水池管件）","座"]
[5,"其他安装所需辅材","项"]
["二","泵、过滤器、结合器"]
[1,"深井水泵（规格）","台","海源","海源","长轴深井泵 100RJC10-4 5.5kW","中国",3]
[2,"低位水池潜水泵","台"]
[3,"远传水位显示仪(防雷型）","个","海源","海源","现场采购","中国",3]
[4,"水位控制箱","个","海源","海源","现场定制","中国",3]
[5,"水泵电缆（含保护管）","米"]
[6,"控制电缆（含保护管）","米"]
[7,"水泵结合器（地上式 ）","套","邦消","邦消","SQS100 地上式，见99S203","中国",10]
[8,"Y型过滤器 DN100","个"]
[9,"Y型过滤器 DN150","个","邦消","邦消","DN150","中国",6]
[10,"Y型过滤器 DN200","个"]
[12,"其他所需的安装附材","项",{"$nulls":4},1]
["三","消防管道"]
[1,"热浸锌镀锌钢管（含连接配件）DN50","米"]
[2,"热浸锌镀锌钢管（含连接配件）DN65","米","正大","正大","DN65","中国",900]
[3,"热浸锌镀锌钢管（含连接配件）DN80","米","正大","正大","DN80","中国",523]
[4,"热浸锌镀锌钢管（含连接配件）DN100","米","正大","正大","DN100","中国",260]
[5,"热浸锌镀锌钢管（含连接配件）DN125","米"]
[6,"热浸锌镀锌钢管（含连接配件）DN150","米","正大","正大","DN150","中国",10796]
[7,"热浸锌镀锌钢管（含连接配件）DN200","米"]
[8,"螺旋缝焊接钢管","根",null,null,"B219*6*10000"]
[9,"螺旋缝焊接钢管","根","正大","正大","B325*6*12500","中国",12]
[10,"螺旋缝焊接钢管","根",null,null,"B425*6*12500"]
[11,"其他所需的安装附材","项",{"$nulls":4},1]
["四","阀门"]
[1,"洞内检修球阀"," "]
[1.1,"洞内检修球阀（DN100）","个"]
[1.2,"洞内检修球阀（DN125）","个"]
[1.3,"洞内检修球阀（DN150）","个","邦消","邦消","DN150","中国",36]
[1.4,"洞内检修球阀（DN200）","个"]
[2,"闸阀（含配件）"]
[2.1,"闸阀DN100（含配件）(全喷塑软封)","个"]
[2.2,"闸阀DN125（含配件）(全喷塑软封)","个"]
[2.3,"闸阀DN150（含配件）(全喷塑软封)","个"]
[3,"蝶阀(含配件)"]
[3.1,"蝶阀(含配件)DN50","个"]
[3.2,"蝶阀(含配件)DN100","个","邦消","邦消","DN100","中国",20]
[3.3,"蝶阀(含配件)DN125","个"]
[3.4,"蝶阀(含配件)DN150","个","邦消","邦消","DN150","中国",43]
[3.5,"蝶阀(含配件)DN200","个"]
[4,"截止阀（含配件）"]
[4.1,"截止阀（含配件）DN50","个"]
[5,"止回阀"," "]
[5.1,"止回阀DN65","个","邦消","邦消","DN150","中国",3]
[5.2,"微阻缓闭止回阀","个"]
[6,"DN50自动排气阀","个","邦消","邦消","DN50","中国",6]
[7,"截止阀DN50","个","邦消","邦消","DN50","中国",6]
[8,"洞外减压阀井","个"]
[9,"减压阀组(含洞门)","套"]
[10,"球阀","个"]
[11,"管道伸缩器 DN150","个","邦消","邦消","DN150","中国",14]
[12,"其他所需的安装附材","项",{"$nulls":4},1]
["五","其他"]
[1,"阀门井"]
[1.1,"砖砌阀门井","座","现场定制","现场定制","现场定制","中国",37]
[1.2,"砖砌阀门井","座"]
[1.3,"砖砌圆形给水阀门井","座"]
[2,"管道支架"," "]
[2.1,"洞内支架","付","现场定制","现场定制","现场定制","中国",3344]
[2.2,"洞外支架","付","现场定制","现场定制","现场定制","中国",120]
[2.3,"砖砌管支墩","座",{"$nulls":4},270]
[3,"检修便道（含青赔、征地）","米",{"$nulls":4},730]
[4,"防火门"]
[4.1,"防火卷帘门（车行横洞）","扇","白沙","白沙","现场定制","中国",3]
[4.2,"防火门（人行横洞）","扇","恒立","恒立","现场定制","中国",24]
[4.3,"通风照明洞室防火门","扇"]
[5,"室外给水栓","个"]
[6,"电缆沟防火封堵","处"]
[7,"旋流防止器 DN150","个","邦消","邦消","DN150","中国",6]
[10,"其他所需的安装附材","项",{"$nulls":4},1]
[404,"消防器具"]
[1,"灭火器葙(MF6、MF8型干粉三具)","套"]
[2,"2*6kg磷酸铵盐干粉灭火器","套"]
[3,"消火栓箱非标（包括减压稳压消火栓、水成膜泡沫栓、灭火器、上水管槽的镀锌钢板、标识等）","套","邦消","邦消","高1200*宽1700*厚320","福建",186]
[4,"室外消火栓（地上式） ","套","邦消","邦消","室外消火栓 SS100/65","福建",10]
[5,"室内消火栓口","个"]
[6,"减压孔板","片"]
[7,"其他所需安装附材","项",{"$nulls":4},1]
["400章  总计 "]